## Sheet1
Street Address:_________________________ Date:___________ Inspected By:________________
City:__________________ Bedrooms:____ Bathrooms:____ Sq.Ft.:____________ Vacant:_______
Inspection Checklist | Yes | # Units | No | Repair Cost Calculations | Repair Cost
1. Need a roof, gutters? |  |  |  | Architectural Shingle (rip & re-shingle): $4.00/sqft (add $2.00/sqft for new Sheeting); Roll Over Existing: $2.20/sqft Gutters: $1,500 ($7.5/linear ft); Tile Roof: Get it inspected | $
2. Exterior Paint/Siding/Stucco? |  |  |  | Paint: Sing. Fam 1,500 sqft: $3,000; Siding (Single 1,500 sqft): $7,000 Stucco: over existing-$2,500/floor w/minimal patch; All New Stucco: $5,000 | $
3. Need windows? |  |  |  | Multiply Number of Windows x $250 (Standard installation/size - no exterior patch). Add $50-$75 per window depending on amount of exterior patch and large size | $
4. Garage Need Repair? |  |  |  | 1 Garage Door: $550; w/Opener Installed: $950; 1 Car w/Paint: $500;2 Cars w/Paint: $1,000; Roof New: $2,000 (Adjust up on for size); Build new 1 Car: $6,000-$8,000 | $
5. Yard cleaned or landscaped? |  |  |  | Clean Yard (Easy): $250 Clean Yard (Hard): $750 Landscape (Easy): $1,000 Landscape (Hard): $2,000 POOL: Plaster only-$4,500; Pool Complete w/Equip - $10k-$15k | $
6. Heating/AC or furnaces need replacing? |  |  |  | Replace 1 Hot Air Furnace or Boiler: $2,000-$2,500 depending on size; Replace 1 Wall Heater: $600 New Duct Work: $1,500; AC and Heat (install new) $10k-$15k | $
7. Plumbing need repair? |  |  |  | Plumbing: $1,500 per wet location; 1,500/sqft House: $6,000 (all new); Replace 1 H2O Heater: $600; Tankless: $1,500; Septic Inspection Needed: Yes / No | $
8. Electrical need repair? |  |  |  | New Panel: $1,500-$2,000 (Aluminum Wiring Y/N) Federal Pacific, Zinsco, other _____ Y/N) 1,500 sq/ft House, Rewire, New service w/New panel: $7,000; Fixtures: $300-$500 | $
9. Foundation need repair? 10. Basement need repair? |  |  |  | Reframe Support Beam: $500/per; Seal Basement: $250; Poor Concrete Floor: $800 (5 yrds) Replace: Budget minimum $10k and Contract Quote Needed: Y/N; Replace Stairs: $1,000 | $
11. Need interior paint? |  |  |  | Interior Paint: $1.5-2 per sqft as a general rule (minimal prep); Single Family: 1,500 sqft $2,500; 3 Family 3,000 sqft $4,500. Add $500-$1,000 for add'l prep if needed | $
12. House need carpet? 13. House need tile/vinyl? 14. Floors need to be sanded? |  |  |  | Quick Rule: Single Family: $1,300; Carpet Rule: sqft / 9 x $12-$15 = Cost; Ceramic Tile: $10/sqft material & labor; Sheet Vinyl: $2/sq yd; Hardwood Install = $6.00/sqft; Sand & Refinish = $2.00/sqft | $
15. Unit 1 kitchen need repair? |  |  |  | Single Family Rental: $2,000; Single Family Low End: $5,500; Single Family Nice: $5,500-$7,500; Single Family High End: $8,000-$10,000 | $
16. Kitchens need appliances? |  |  |  | Standard: $2,000; Higher End: $4,500; Super High End: $8,000+ | $
17. Baths |  |  |  | 1 Unit Redfone Completely Full Bath: $2,500-$3,500; 1 Unit Redone Completely Half Bath: $1,500 | $
18. Sheetrock damaged or need replacing? |  |  |  | General Rule: $3.00/sqft for total gut job finished. Acoustical ceiling removal: $1.00/sqft; Single Fam Patch: $500-$1,000; Rule of Thumb: 4'x8' sheet is $40 to rock, tape & prep for paint | $
19. Dumpsters? 20. Decks? 21. Pergola? 22. Termite Damage? 23. Fence? 24. Other: |  |  |  | Dumpsters: $500-$600 per dumpster--30 yards; (Add $500 of labor per dumpster); Single Family Patch: $1,000 in dumpsters; Decks: 10x10=$2,000; 15x15=$3,000 (check if permit needed); Build Pergola: 10'x10'=$1,500; 15'x15'=$2,500 (check if permit needed); Minimum $1,000 or 50% of quoted termite repair cost; Fence: $1,000-$2,000 (or about $15/linear ft) | $
25. Permits and Planner 25. Miscellaneous |  |  |  | City: $2,000-$3,500; County: $1,500-$2,500; Permit on Addition: $8,000 (research your area); Repair Cost x 10%:___________ Other :__________ | $
ARV: $ |  |  |  | TOTAL | $
Professional Quotes Needed: Buried Oil Tank: Y/N Connecting City Water/Sewer: Y/N Mold Remediation: Y/N Septic: Y/N
ARV Features: Outside: Street + - Curb Appeal: + - Neighbors: + - Backyard: + - Usable Lot: + -
Inside: Layout: + - (Fixable Y / N) Kitchen + - Bedrooms: + - Bathrooms: + - Master Suite: Y / N
Notes: ________________________________________________________________________________